## Fall 2021 ng-g
Concentrations (ng/g dry weight) of micropollutants in soils irrigated with tap water (CT), fully-treated (FT) and partially-treated (PT) water at initial, intermediate, and final time (fall 2021).
Sampling details | Sampling campaign | Fall 2021
| Time | Initial |  |  | Intermediate |  |  | Final
| Irrigation water | Tap water (TW) | Fully treated water (FT) | Partially treated water (AT) | Tap water (TW) | Fully treated water (FT) | Partially treated water (AT) | Tap water (TW) | Fully treated water (FT) | Partially treated water (AT) | Control treatment (CT) |  |  | Full treatment (FT) |  |  | Partial Treatment (PT)
Class | Analyte | Soil concentration (ng/g soil d.w.) | [8 empty] | LOD (ng/g d.w.) | LOQ (ng/g d.w.) | Recovery (%) | LOD (ng/g d.w.) | LOQ (ng/g d.w.) | Recovery (%) | LOD (ng/g d.w.) | LOQ (ng/g d.w.) | Recovery (%)
Antibiotics | Azithromycin | NR | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Ciprofloxacin | NR | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Chlarithromycin | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.015 | 0.051 | 25.5 | 0.014 | 0.046 | 25.5 | 0.014 | 0.046 | 26.6
| Clindamycin | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.144 | 0.481 | 106.1306 | 0.149 | 0.497 | 110.8324 | 0.075 | 0.251 | 97.641
| Erythromycin | NA |  |  | ND | 1.299 | ND | ND | ND | ND | NA |  | NR | 0.038 | 0.127 | 20.9 | 0.013 | 0.045 | 23.863
| Metronidazole | ND | ND | ND | ND | ND | ND | NA |  |  | 0.481 | 1.604 | 22.7938 | 0.218 | 0.727 | 31.5174 | NA |  | NR
| OH-Metronidazole | NA | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Ofloxacin | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.093 | 0.308 | 30.2 | 0.13 | 0.401 | 20 | 0.076 | 0.252 | 31.3649
| Oxytetracycline | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.211 | 0.705 | 65.2668 | 0.192 | 0.639 | 53.9099 | 0.297 | 0.992 | 101.3244
| Sulfamethoxazole | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.014 | 0.047 | 65.6833 | 0.019 | 0.063 | 57.6958 | 0.011 | 0.036 | 88.702
| N-Acetyl-Sulfamethoxazole | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.108 | 0.36 | 39.1818 | 0.134 | 0.448 | 34.0625 | 0.157 | 0.524 | 62.5683
| Tetracycline | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.06 | 0.201 | 32.7142 | 0.029 | 0.096 | 25.6028 | 0.09 | 0.3 | 72.2452
| Trimethoprim | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.065 | 0.216 | 80.0538 | 0.052 | 0.173 | 93.4936 | 0.161 | 0.537 | 96.55
Antihypertensive | Irbesartan | ND | 1.6 | ND | ND | 1.53 | ND | ND | 1.49 | 0.21 | 0.014 | 0.047 | 50.6401 | 0.022 | 0.074 | 68.1992 | 0.016 | 0.053 | 68.2456
| Losartan | ND | ND | 0.195 | ND | ND | ND | ND | ND | ND | 0.054 | 0.179 | 58 | 0.049 | 0.163 | 78 | 0.034 | 0.114 | 88
| Valsartan | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.024 | 0.082 | 87.4628 | 0.024 | 0.078 | 82.9757 | 0.019 | 0.064 | 74.6844
β-Blockers | Atenolol | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.065 | 0.217 | 37.218 | 0.062 | 0.208 | 41.8931 | 0.053 | 0.178 | 40.8868
| Metoprolol | ND | ND | ND | ND | ND | ND | ND | 0.23 | ND | 0.066 | 0.219 | 20.3 | 0.066 | 0.219 | 20.3 | 0.094 | 0.312 | 21.1543
| Metoprolol acid | NA | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Propranolol | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.015 | 0.048 | 20.2 | 0.015 | 0.049 | 21.7 | 0.02 | 0.066 | 26
| Sotalol | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.267 | 0.889 | 38.9782 | 0.44 | 1.468 | 50.7694 | 0.403 | 1.343 | 47.8511
Calcium channel blocker | Diltiazem | NA | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
Diuretics | Furosemide | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.739 | 2.463 | 74.9436 | 0.918 | 3.0605 | 97.2479 | 0.27 | 0.9 | 65.808
| Hydrchlorothiazide | ND | 0.673 | ND | ND | 1.003 | ND | ND | 0.964 | ND | 0.197 | 0.657 | 68.7294 | 0.158 | 0.526 | 45.5795 | 0.072 | 0.239 | 56.4193
Lipid regulators | Bezafibrate | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.338 | 1.128 | 83.7497 | 0.314 | 1.046 | 87.2031 | 0.262 | 0.874 | 69.0091
| Gemfibrozil | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.019 | 0.062 | 74.9436 | 0.022 | 0.073 | 97.2479 | 0.013 | 0.043 | 65.808
Stimulant | Caffeine | 2.519 | 2.443 | 3.38 | 2.301 | 2.676 | 3.665 | 5.393 | 3.976 | 10.256 | 0.189 | 0.629 | 39.9841 | 0.437 | 1.457 | 60.6539 | 0.638 | 2.128 | 61.4992
Non-steroideal analgesics and antiinflammatories | Acetaminophen | ND | 12.581 | 3.521 | 1.397 | 9.43 | 7.278 | 2.378 | 10.543 | 6.51 | 0.361 | 1.205 | 26.8783 | 0.366 | 1.22 | 31.384 | 0.177 | 0.591 | 20.9841
| Codeine | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.227 | 0.756 | 73.706 | 0.186 | 0.621 | 71.5344 | 0.496 | 1.654 | 90.9465
| Diclofenac | ND | ND | ND | ND | ND | ND | ND | ND | ND | 1.361 | 4.537 | 87.3071 | 1.414 | 4.712 | 122.0725 | 0.421 | 1.405 | 148.5729
| Ibuprofen | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.231 | 0.705 | 82.7808 | 0.295 | 0.782 | 87.689 | 0.122 | 0.406 | 77.613
| 2-OH Ibuprofen | 5.752 | 5.146 | 4.799 | 4.945 | 4.753 | 2.478 | 5.194 | 4.186 | 3.928 | 1.173 | 3.909 | 52.4551 | 1.018 | 3.395 | 74.0604 | 0.427 | 1.425 | 30.2922
| Indomethacine | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.162 | 0.541 | 61.453 | 0.123 | 0.41 | 58.0153 | 0.106 | 0.354 | 54.0421
| Meloxicam | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.02 | 0.066 | 71.8937 | 0.02 | 0.065 | 72.9082 | 0.011 | 0.038 | 68.5613
| Naproxen | ND | ND | ND | ND | ND | ND | ND | ND | ND | 1.322 | 4.408 | 89.2162 | 0.785 | 2.615 | 96.9705 | 0.289 | 0.962 | 94.2395
| Phenazone | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.256 | 0.853 | 84.5404 | 0.242 | 0.806 | 77.0018 | 0.325 | 1.084 | 76.693
| Salicylic Acid | NA | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
Antihelmintic | Albendazole | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.166 | 0.553 | 29.2584 | 0.224 | 0.745 | 30.285 | 0.249 | 0.831 | 34.7457
| Ronidazole | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.131 | 0.437 | 58.3704 | 0.119 | 0.397 | 57.0899 | 0.081 | 0.268 | 36.5873
Asmathic drug | Salbutamol | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.338 | 1.128 | 30.896 | 0.323 | 1.076 | 34.3607 | 0.391 | 1.304 | 21.6792
Histamine receptor antagonist | Ranitidine | ND | ND | ND | NA |  |  | ND | ND | ND | 0.024 | 0.081 | 24.944 | NA |  | NR | 0.052 | 0.174 | 28.7794
X-ray contrast | Iopromide | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.258 | 0.86 | 110.2509 | 0.343 | 1.143 | 71.3556 | 0.149 | 0.496 | 43.2367
Psychiatric drug | Alprazolam | ND | 0.043 | <LOQ | ND | ND | <LOQ | ND | 0.043 | ND | 0.23 | 0.79 | 64.3 | 0.26 | 0.82 | 68 | 0.24 | 0.79 | 69.4
| Carbamazepine | ND | 0.453 | ND | ND | 0.263 | ND | ND | 0.468 | ND | 0.05 | 0.151 | 94.8226 | 0.063 | 0.199 | 98.2276 | 0.106 | 0.367 | 87.2957
| 2OH-Carbamazepine | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.182 | 0.608 | 73.8563 | 0.276 | 0.921 | 67.039 | 0.306 | 1.02 | 60.0866
| Epoxy-Carbamazepine | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.182 | 0.607 | 79.1367 | 0.224 | 0.746 | 77.5885 | 0.22 | 0.733 | 69.7201
| Fluoxetine | NR | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Lorazepam | ND | ND | ND | ND | ND | ND | ND | <LOQ | ND | 0.272 | 0.908 | 66.3653 | 0.242 | 0.741 | 65.2174 | 0.233 | 0.689 | 64.0866
| Norfluoxetine | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.485 | 1.617 | 99.2121 | 0.451 | 1.504 | 62.9568 | 0.286 | 0.955 | 48.2196
| Paroxetine | ND | ND | ND | ND | ND | ND | ND | ND | 4.937 | 0.034 | 0.114 | 70 | 0.018 | 0.062 | 73 | 0.014 | 0.045 | 65
| Sertraline | NR | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Venlafaxine | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.009 | 0.028 | 23.8483 | 0.01 | 0.034 | 29.7 | 0.018 | 0.058 | 51.1
| N-desmethyl-Venlafaxine | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.294 | 0.98 | 54.8 | 0.194 | 0.648 | 44.9 | 0.098 | 0.326 | 26.6
| O-desmethyl-Venlafaxine | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.023 | 0.076 | 20.0644 | 0.156 | 0.52 | 59.6457 | 0.052 | 0.172 | 52.2383
Bisphenols | BPA | 5.286 | 1.308 | 1.28 | 0.516 | 1.474 | 0.774 | 1.308 | 0.479 | 2.081 | 0.05 | 0.09 | 63 | 0.06 | 0.09 | 20.8 | 0.08 | 0.13 | 23
| BPS | 13.949 | 2.761 | 0.872 | 6.684 | 3.778 | 0.436 | 3.487 | 5.521 | 2.47 | 0.01 | 0.04 | 44.5 | 0.03 | 0.08 | 43 | 0.04 | 0.1 | 56.9
Endocrine Disruptive Chemicals (EDCs) | 1H-Benzotriazol | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.09 | 0.35 | 21.5 | 0.08 | 0.22 | 20.1 | 0.11 | 0.34 | 28
| Estrone | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.03 | 0.09 | 28.5 | 0.05 | 0.16 | 20.4 | 0.05 | 0.14 | 36.7
| Ethinyl Estradiol | NR | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Benzylparaben | NR | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Methylparaben | 5.515 | 2.559 | 0.793 | 4.894 | 3.262 | 0.694 | 4.686 | 3.776 | 0.775 | 0.02 | 0.07 | 77.6 | 0.06 | 0.17 | 80.3 | 0.05 | 0.15 | 101.2
| Propylparaben | ND | ND | 0.122 | <LOQ | ND | 2.07 | ND | ND | ND | 0.01 | 0.03 | 28.8 | 0.04 | 0.11 | 36.9 | 0.02 | 0.07 | 59.7
| TBEP | NR | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| TCEP | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.04 | 0.14 | 74.2 | 0.09 | 0.3 | 67.8 | 0.07 | 0.19 | 79.2
ND | Not Detected (below the limit of detection)
<LOQ | Below Limit of Quantification
NA | Not Analyzed
SAT | Saturated peak. Concentration higher then upper linear range of calibration curve
NR | Not recovered (recovery % too low)

## Summer 2022 ng-g
Concentrations (ng/g dry weight) of micropollutants in soils irrigated with tap water (CT), fully-treated (FT) and partially-treated (PT) water at initial, intermediate, and final time (summer 2022).
Sampling details | Sampling campaign | Summer 2022
| Time | Initial |  |  | Intermediate |  |  | Final
| Irrigation water | Control treatment (CT) | Full treatment (FT) | Partial treatment (PT) | Control treatment (CT) | Full treatment (FT) | Partial treatment (PT) | Control treatment (CT) | Full treatment (FT) | Partial treatment (PT) | Control treatment (CT) |  |  | Full treatment (FT) |  |  | Partial Treatment (PT)
Class | Analyte | Soil concentration (ng/g soil d.w.) | [8 empty] | LOD (ng/g d.w.) | LOQ (ng/g d.w.) | Recovery (%) | LOD (ng/g d.w.) | LOQ (ng/g d.w.) | Recovery (%) | LOD (ng/g d.w.) | LOQ (ng/g d.w.) | Recovery (%)
Antibiotics | Azithromycin | NA | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Ciprofloxacin | NA | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Clarithromycin | ND | <LOQ | ND | ND | ND | ND | ND | 2.04 | 0.5 | 0.015 | 0.051 | 25.5 | 0.014 | 0.046 | 25.5 | 0.014 | 0.046 | 26.6
| Clindamycin | ND | <LOQ | ND | ND | ND | ND | ND | 0.65 | 0.28 | 0.144 | 0.481 | 106.1306 | 0.149 | 0.497 | 110.8324 | 0.075 | 0.251 | 97.641
| Erythromycin | NA | 0.17 | 0.1 | NA | ND | 0.18 | NA | ND | 0.1 | NA |  | NR | 0.038 | 0.127 | 20.9 | 0.013 | 0.045 | 23.863
| Metronidazole | ND | ND | ND | ND | ND | ND | NA |  |  | 0.481 | 1.604 | 22.7938 | 0.218 | 0.727 | 31.5174 | NA |  | NR
| OH-Metronidazole | NA | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Ofloxacin | 0.91 | 0.85 | 0.26 | 0.53 | ND | <LOQ | <LOQ | ND | 0.28 | 0.093 | 0.308 | 30.2 | 0.13 | 0.401 | 20 | 0.076 | 0.252 | 31.3649
| Oxytetracycline | ND | ND | <LOQ | ND | ND | <LOQ | ND | ND | ND | 0.211 | 0.705 | 65.2668 | 0.192 | 0.639 | 53.9099 | 0.297 | 0.992 | 101.3244
| Sulfamethoxazole | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.014 | 0.047 | 65.6833 | 0.019 | 0.063 | 57.6958 | 0.011 | 0.036 | 88.702
| N-Acetyl-Sulfamethoxazole | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.108 | 0.36 | 39.1818 | 0.134 | 0.448 | 34.0625 | 0.157 | 0.524 | 62.5683
| Tetracycline | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.06 | 0.201 | 32.7142 | 0.029 | 0.096 | 25.6028 | 0.09 | 0.3 | 72.2452
| Trimethoprim | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.065 | 0.216 | 80.0538 | 0.052 | 0.173 | 93.4936 | 0.161 | 0.537 | 96.55
Antihypertensives | Irbesartan | 0.82 | 12.97 | 5.69 | ND | 14 | 7.08 | ND | 59.4 | 7.31 | 0.014 | 0.047 | 50.6401 | 0.022 | 0.074 | 68.1992 | 0.016 | 0.053 | 68.2456
| Losartan | 0.3 | ND | 0.89 | 0.6 | ND | 0.55 | 1.19 | ND | 0.73 | 0.054 | 0.179 | 58.4 | 0.049 | 0.163 | 78.3 | 0.034 | 0.114 | 88.2
| Valsartan | 0.92 | 0.43 | 0.2 | 0.24 | 2.37 | 0.34 | 0.27 | 0.64 | 0.34 | 0.024 | 0.082 | 87.4628 | 0.024 | 0.078 | 82.9757 | 0.019 | 0.064 | 74.6844
β-Blockers | Atenolol | ND | <LOQ | ND | ND | ND | ND | ND | 1.24 | 0.83 | 0.065 | 0.217 | 37.218 | 0.062 | 0.208 | 41.8931 | 0.053 | 0.178 | 40.8868
| Metoprolol | ND | 2.98 | <LOQ | ND | ND | <LOQ | ND | 2.16 | 2.47 | 0.066 | 0.219 | 20.6 | 0.066 | 0.219 | 20.6 | 0.094 | 0.312 | 21.1543
| Metoprolol acid | NA | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Propranolol | ND | 0.34 | ND | ND | ND | ND | ND | 0.33 | ND | 0.015 | 0.048 | 20.9 | 0.015 | 0.049 | 21.7 | 0.02 | 0.066 | 26
| Sotalol | ND | <LOQ | <LOQ | ND | <LOQ | <LOQ | ND | 1.79 | 2.26 | 0.267 | 0.889 | 38.9782 | 0.44 | 1.468 | 50.7694 | 0.403 | 1.343 | 47.8511
Calcium channel blocker | Diltiazem | NA | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
Diuretics | Furosemide | ND | ND | ND | ND | 8.34 | ND | ND | ND | ND | 0.739 | 2.463 | 74.9436 | 0.918 | 3.0605 | 97.2479 | 0.27 | 0.9 | 65.808
| Hydrochlorothiazide | ND | 58.96 | 3.41 | ND | 68.61 | 4.48 | ND | 62.49 | 0.94 | 0.197 | 0.657 | 68.7294 | 0.158 | 0.526 | 45.5795 | 0.072 | 0.239 | 56.4193
Lipid regulators | Bezafibrate | ND | ND | 4.36 | ND | 5.94 | 3.93 | 1.42 | 1.3 | 1.29 | 0.338 | 1.128 | 83.7497 | 0.314 | 1.046 | 87.2031 | 0.262 | 0.874 | 69.0091
| Gemfibrozil | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.019 | 0.062 | 74.9436 | 0.022 | 0.073 | 97.2479 | 0.013 | 0.043 | 65.808
Stimulant | Caffeine | 7.75 | 6.94 | 9.71 | 7.47 | ND | 8.66 | 3.86 | 2.3 | 6.38 | 0.189 | 0.629 | 39.9841 | 0.437 | 1.457 | 60.6539 | 0.638 | 2.128 | 61.4992
NSAIDs | Acetaminophen | 15.83 | 5.77 | 12.03 | 16.93 | 31.49 | 18.92 | 17.76 | 16 | 9.45 | 0.361 | 1.205 | 26.8783 | 0.366 | 1.22 | 31.384 | 0.177 | 0.591 | 20.9841
| Codeine | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.227 | 0.756 | 73.706 | 0.186 | 0.621 | 71.5344 | 0.496 | 1.654 | 90.9465
| Diclofenac | 10.31 | 4.79 | 4.66 | 9.55 | 2.73 | 5.12 | 11.32 | 15.32 | 5.61 | 1.361 | 4.537 | 87.3071 | 1.414 | 4.712 | 122.0725 | 0.421 | 1.405 | 148.5729
| Ibuprofen | 0.85 | 0.8 | 1.71 | 1.6 | ND | 1.77 | 1 | 0.84 | 1.18 | 0.231 | 0.705 | 82.7808 | 0.295 | 0.782 | 87.689 | 0.122 | 0.406 | 77.613
| 2-OH Ibuprofen | 23.86 | 8.2 | ND | 25.96 | 20.95 | ND | 31.57 | 11.58 | <LOQ | 1.173 | 3.909 | 52.4551 | 1.018 | 3.395 | 74.0604 | 0.427 | 1.425 | 30.2922
| Indomethacine | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.162 | 0.541 | 61.453 | 0.123 | 0.41 | 58.0153 | 0.106 | 0.354 | 54.0421
| Meloxicam | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.02 | 0.066 | 71.8937 | 0.02 | 0.065 | 72.9082 | 0.011 | 0.038 | 68.5613
| Naproxen | ND | ND | ND | ND | ND | ND | ND | ND | ND | 1.322 | 4.408 | 89.2162 | 0.785 | 2.615 | 96.9705 | 0.289 | 0.962 | 94.2395
| Phenazone | <LOQ | ND | ND | ND | ND | ND | ND | ND | ND | 0.256 | 0.853 | 84.5404 | 0.242 | 0.806 | 77.0018 | 0.325 | 1.084 | 76.693
| Salicylic Acid | NA | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
Antihelmintics | Albendazole | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.166 | 0.553 | 29.2584 | 0.224 | 0.745 | 30.285 | 0.249 | 0.831 | 34.7457
| Ronidazole | ND | ND | ND | ND | ND | ND | <LOQ | <LOQ | ND | 0.131 | 0.437 | 58.3704 | 0.119 | 0.397 | 57.0899 | 0.081 | 0.268 | 36.5873
Bronchodilator | Salbutamol | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.338 | 1.128 | 30.896 | 0.323 | 1.076 | 34.3607 | 0.391 | 1.304 | 21.6792
Histamine receptor antagonist | Ranitidine | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.024 | 0.081 | 24.944 | NA |  | NR | 0.052 | 0.174 | 28.7794
X-ray contrast agent | Iopromide | ND | ND | 1.07 | ND | ND | 1.07 | ND | ND | ND | 0.258 | 0.86 | 110.2509 | 0.343 | 1.143 | 71.3556 | 0.149 | 0.496 | 43.2367
Psychiatric drugs | Alprazolam | <LOD | 0.154 | <LOD | <LOD | <LOD | <LOD | <LOD | 0.295 | 0.112 | 0.23 | 0.79 | 64.3 | 0.26 | 0.82 | 68 | 0.24 | 0.79 | 69.4
| Carbamazepine | 0.47 | 2.31 | 2.05 | 0.25 | 0.6 | 1.85 | 1.51 | 3.82 | 1.22 | 0.05 | 0.151 | 94.8226 | 0.063 | 0.199 | 98.2276 | 0.106 | 0.367 | 87.2957
| 2OH-Carbamazepine | NA | [8 empty] | NA
| Epoxy-Carbamazepine | <LOQ | ND | ND | <LOQ | ND | ND | ND | <LOQ | ND | 0.182 | 0.607 | 79.1367 | 0.224 | 0.746 | 77.5885 | 0.22 | 0.733 | 69.7201
| Fluoxetine | NA | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Lorazepam | ND | 1.1 | <LOQ | ND | <LOQ | <LOQ | ND | 1 | <LOQ | 0.272 | 0.908 | 66.3653 | 0.242 | 0.741 | 65.2174 | 0.233 | 0.689 | 64.0866
| Norfluoxetine | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.485 | 1.617 | 99.2121 | 0.451 | 1.504 | 62.9568 | 0.286 | 0.955 | 48.2196
| Paroxetine | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.034 | 0.114 | 70 | 0.018 | 0.062 | 73 | 0.014 | 0.045 | 65
| Sertraline | NA | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Venlafaxine | ND | ND | ND | ND | ND | ND | ND | 16.95 | 12.45 | 0.009 | 0.028 | 23.8483 | 0.01 | 0.034 | 29.7 | 0.018 | 0.058 | 51.1
| N-desmethyl-Venlafaxine | ND | ND | ND | ND | ND | ND | 1.21 | 1.88 | ND | 0.294 | 0.98 | 54.8 | 0.194 | 0.648 | 44.9 | 0.098 | 0.326 | 26.6
| O-desmethyl-Venlafaxine | 0.1 | 1.26 | 0.43 | ND | 0.64 | 1.82 | ND | 8.78 | 20.07 | 0.023 | 0.076 | 20.0644 | 0.156 | 0.52 | 59.6457 | 0.052 | 0.172 | 52.2383
Bisphenols | BPA | 0.386 | 0.336 | <LOQ | 0.096 | 0.522 | <LOQ | <LOQ | 0.158 | <LOQ | 0.05 | 0.09 | 63 | 0.06 | 0.09 | 20.8 | 0.08 | 0.13 | 23
| BPS | 4.444 | 4.215 | 4.717 | 1.858 | 2.121 | ND | 1.334 | 1.107 | 4.464 | 0.01 | 0.04 | 44.5 | 0.03 | 0.08 | 43 | 0.04 | 0.1 | 56.9
Endocrine Disruptive Chemicals (EDCs) | 1H-Benzotriazol | 1.455 | 0.809 | <LOQ | 1.365 | 2.698 | 0.535 | 1.546 | 3.241 | 2.428 | 0.09 | 0.35 | 21.5 | 0.08 | 0.22 | 20.1 | 0.11 | 0.34 | 28
| Estrone | 0.56 | 0.566 | 1.042 | 0.419 | 1.251 | 0.508 | 0.85 | 1.255 | 0.371 | 0.03 | 0.09 | 28.5 | 0.05 | 0.16 | 20.4 | 0.05 | 0.14 | 36.7
| Ethinyl Estradiol | NR | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Benzylparaben | NR | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| Methylparaben | 8.084 | 8.387 | 12.275 | 5.287 | 10.479 | 1.09 | 8.943 | 5.978 | 1.398 | 0.02 | 0.07 | 77.6 | 0.06 | 0.17 | 80.3 | 0.05 | 0.15 | 101.2
| Propylparaben | 0.196 | 0.219 | 0.3 | ND | 0.498 | ND | ND | <LOQ | 0.204 | 0.01 | 0.03 | 28.8 | 0.04 | 0.11 | 36.9 | 0.02 | 0.07 | 59.7
| TBEP | NR | [8 empty] | NA |  | NR | NA |  | NR | NA |  | NR
| TCEP | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.04 | 0.14 | 74.2 | 0.09 | 0.3 | 67.8 | 0.07 | 0.19 | 79.2
ND | Not Detected (below the limit of detection)
<LOQ | Below Limit of Quantification
NA | Not Analyzed
SAT | SATurated peak. Concentration higher then upper linear range of calibration curve
NR | Not recovered (recovery % too low)

## Soil parameters
Moisture and soil organic matter of soils in fall 2021 and summer 2022
Campaign | Time | Treatment | Moisture |  | Soil Organic Matter
|  |  | % | SD | % | SD
Fall 2021 | Initial | CT | 18.4 | 3.4 | 5.96 | 0.52
Fall 2021 | Initial | FT | 10.9 | 3.6 | 4.75 | 0.30
Fall 2021 | Initial | PT | 6.3 | 2.8 | 2.49 | 0.09
Fall 2021 | Intermediate | CT | 18.0 | 1.0 | 6.37 | 0.28
Fall 2021 | Intermediate | FT | 15.2 | 3.5 | 4.44 | 0.51
Fall 2021 | Intermediate | PT | 12.3 | 1.5 | 2.43 | 0.28
Fall 2021 | Final | CT | 22.9 | 0.2 | 5.59 | 0.33
Fall 2021 | Final | FT | 17.3 | 0.2 | 5.21 | 0.66
Fall 2021 | Final | PT | 12.9 | 0.8 | 2.47 | 0.45
Summer 2022 | Initial | CT | 19.7 | 2.7 | 5.98 | 0.13
Summer 2022 | Initial | FT | 19.1 | 4.8 | 4.80 | 0.49
Summer 2022 | Initial | PT | 12.9 | 2.9 | 1.70 | 0.30
Summer 2022 | Intermediate | CT | 8.9 | 1.3 | 5.78 | 0.39
Summer 2022 | Intermediate | FT | 19.6 | 3.8 | 4.66 | 0.02
Summer 2022 | Intermediate | PT | 13.3 | 2.3 | 2.06 | 0.56
Summer 2022 | Final | CT | 5.8 | 0.8 | 6.23 | 0.24
Summer 2022 | Final | FT | 15.7 | 2.6 | 5.84 | 0.92
Summer 2022 | Final | PT | 10.4 | 1.9 | 2.17 | 0.23