## a) PhACs S1
Concentrations (ng/L) of pharmaceutical active compounds (PhACs) in the first sampling campaign of HYDRO 5
Therapeutical Class | Compound | Freshwater collection tank | Analytical parameters
|  |  | Recovery | LOD (ng/L) | LOQ (ng/L)
Analgesics and anti-inflammatories | Acetaminophen | ND | 120.8 | 3.3 | 11
| Codeine | ND | 58.6 | 1.1 | 3.8
| Diclofenac | 16 | 110.9 | 1.9 | 6.2
| Ibuprofen | ND | 140 | 80 | 266.7
| 2-OH-IBU | 198 | 109.1 | 18.7 | 62.2
| 1-OH-IBU | 83 | 86.3 | 11.1 | 37.1
| Indomethacine | ND | 108.2 | 1.2 | 4
| Ketoprofen | ND | SAT | 17.8 | 59.2
| Meloxicam | ND | 102.7 | 0.9 | 3
| Naproxen | ND | 61 | 47.5 | 158.3
| Phenazone | ND | 57.2 | 0.8 | 2.7
Antibiotics | Azithromycin | NR | NR | NR | NR
| Chlortetracycline | ND | 57.4 | 3.3 | 11.1
| Ciprofloxacin | ND | 24.2 | 10 | 33.2
| Clarithromycin | ND | 38.9 | 0.3 | 1
| Clindamycin | ND | 68 | 0.2 | 0.8
| Erythromycin | ND | 74 | 0.5 | 1.7
| Metronidazole | ND | 29.6 | 0.8 | 2.6
| OH-Metronidazole | NR | NR | NR | NR
| Ofloxacin | <LOQ | 25.3 | 1.3 | 3.8
| Oxytetracycline | ND | 110.7 | 1.1 | 3.8
| Sulfamethoxazole | ND | 105.8 | 0.1 | 0.3
| N-Acetyl-SMX | ND | 79.4 | 0.3 | 0.9
| Tetracycline | ND | 64.2 | 2.6 | 8.6
| Trimethoprim | ND | 51.6 | 0.3 | 1
Anti-helmintics | Levamisole | ND | 55.4 | 0.6 | 2.1
Antihypertensives | Irbesartan | ND | 100.5 | 0.1 | 0.5
| Losartan | ND | 85.9 | 2.1 | 7.1
| Valsartan | ND | 105.2 | 0.8 | 2.8
Calcium channel blocker drugs | Diltiazem | ND | 83.2 | 0.3 | 1.1
Diuretics | Furosemide | ND | 79 | 11.9 | 39.6
| Hydrochlorothiazide | ND | 135.7 | 22.6 | 75.3
H2 Receptor Antagonists | Ranitidine | NR | NR | NR | NR
Lipid regulators | Bezafibrate | ND | 107.3 | 2.2 | 7.3
| Pravastatin | ND | 102.2 | 1.9 | 6.3
Psychiatric drugs | Alprazolam | ND | 76 | 1 | 3.2
| Carbamazepine | ND | 112.2 | 0.6 | 2.1
| Epoxy-CBZ | ND | 87.4 | 0.7 | 2.2
| 2-OH-CBZ | ND | 68.5 | 0.4 | 1.3
| Citalopram | ND | 33.2 | 0.3 | 1.1
| Fluoxetine | ND | 94.5 | 1.5 | 5
| Lorazepam | ND | 110.6 | 1.5 | 4.8
| Norfluoxetine | ND | 83.7 | 17.8 | 59.4
| Paroxetine | ND | 48.3 | 12.3 | 40.9
| Sertraline | ND | 20.8 | 4.9 | 16.3
| Venlafaxine | ND | 89.1 | 0.5 | 1.6
| N-Desmethyl-VLF | ND | 50.4 | 0.4 | 1.4
| O-Desmethyl-VLF | ND | 92.4 | 1.1 | 3.8
β-Blockers | Atenolol | ND | 39.3 | 0.1 | 0.3
| Metoprolol | ND | 73.7 | 0.2 | 0.6
| MTPA | ND | 43.6 | 0.4 | 1.3
| Propranolol | ND | 36.9 | 0.7 | 2.4
| Sotalol | ND | 54.3 | 0.7 | 2.4
Alpha blockers | Tamsulosin | ND | 55.7 | 0.4 | 1.3
To treat asthma | Salbutamol | NR | NR | NR | NR
Total |  | 297
| ND | Not Detected (below the limit of quantification)
| <LOQ | Below Limit of Quantification
| NA | Not Analyzed
| SAT | SATurated peak. Concentration higher then upper linear range of calibration curve
| NR | Not recovered (recovery % too low)

## b) EDCs S1
Concentrations (ng/L) of endocrine disrupting compounds (EDCs) and related compounds in the first sampling campaign of HYDRO 5
Class | Compound | Freshwater collection tank | Analytical parameters
|  |  | Recovery (%) | LOD (ng/L) | LOQ (ng/L)
Plasticiser | BPA | ND | 22.2 | 0.58 | 1.95
| BPB | ND | 61.2 | 1.44 | 4.79
Preservative | Methylparaben | ND | 60.61 | 5.71 | 19.04
| Propylparaben | ND | 82.4 | 6.93 | 23.11
Stimulant | Caffeine | <LOQ | 99.3 | 3.9 | 13
Anticorrosive agent | Benzotriazole | ND | 96.1 | 0.8 | 2.6
Total |  | 0
| ND | Not Detected (below the limit of quantification)
| <LOQ | Below Limit of Quantification
| NA | Not Analyzed
| SAT | SATurated peak. Concentration higher then upper linear range of calibration curve
| NR | Not recovered (recovery % too low)

## c) PhACs S2
Concentrations (ng/L) of pharmaceutical active compounds (PhACs) in the second sampling campaign of HYDRO 5
Therapeutical Class | Compound | Freshwater collection tank | Analytical parameters
|  |  | Recovery | LOD (ng/L) | LOQ (ng/L)
Analgesics and anti-inflammatories | Acetaminophen | ND | 120.8 | 3.3 | 11
| Codeine | ND | 58.6 | 1.1 | 3.8
| Diclofenac | 53 | 110.9 | 1.9 | 6.2
| Ibuprofen | <LOQ | 140 | 80 | 266.7
| 2-OH-IBU | <LOQ | 109.1 | 18.7 | 62.2
| 1-OH-IBU | <LOQ | 86.3 | 11.1 | 37.1
| Indomethacine | ND | 108.2 | 1.2 | 4
| Ketoprofen | ND | SAT | 17.8 | 59.2
| Meloxicam | ND | 102.7 | 0.9 | 3
| Naproxen | ND | 61 | 47.5 | 158.3
| Phenazone | ND | 57.2 | 0.8 | 2.7
Antibiotics | Azithromycin | NR | NR | NR | NR
| Chlortetracycline | ND | 57.4 | 3.3 | 11.1
| Ciprofloxacin | ND | 24.2 | 10 | 33.2
| Clarithromycin | ND | 38.9 | 0.3 | 1
| Clindamycin | ND | 68 | 0.2 | 0.8
| Erythromycin | ND | 74 | 0.5 | 1.7
| Metronidazole | ND | 29.6 | 0.8 | 2.6
| OH-Metronidazole | NR | NR | NR | NR
| Ofloxacin | ND | 25.3 | 1.3 | 3.8
| Oxytetracycline | ND | 110.7 | 1.1 | 3.8
| Sulfamethoxazole | ND | 105.8 | 0.1 | 0.3
| N-Acetyl-SMX | ND | 79.4 | 0.3 | 0.9
| Tetracycline | ND | 64.2 | 2.6 | 8.6
| Trimethoprim | ND | 51.6 | 0.3 | 1
Anti-helmintics | Levamisole | ND | 55.4 | 0.6 | 2.1
Antihypertensives | Irbesartan | ND | 100.5 | 0.1 | 0.5
| Losartan | ND | 85.9 | 2.1 | 7.1
| Valsartan | ND | 105.2 | 0.8 | 2.8
Calcium channel blocker drugs | Diltiazem | ND | 83.2 | 0.3 | 1.1
Diuretics | Furosemide | ND | 79 | 11.9 | 39.6
| Hydrochlorothiazide | ND | 135.7 | 22.6 | 75.3
H2 Receptor Antagonists | Ranitidine | NR | NR | NR | NR
Lipid regulators | Bezafibrate | ND | 107.3 | 2.2 | 7.3
| Pravastatin | ND | 102.2 | 1.9 | 6.3
Psychiatric drugs | Alprazolam | ND | 76 | 1 | 3.2
| Carbamazepine | ND | 112.2 | 0.6 | 2.1
| Epoxy-CBZ | ND | 87.4 | 0.7 | 2.2
| 2-OH-CBZ | ND | 68.5 | 0.4 | 1.3
| Citalopram | ND | 33.2 | 0.3 | 1.1
| Fluoxetine | ND | 94.5 | 1.5 | 5
| Lorazepam | ND | 110.6 | 1.5 | 4.8
| Norfluoxetine | ND | 83.7 | 17.8 | 59.4
| Paroxetine | ND | 48.3 | 12.3 | 40.9
| Sertraline | ND | 20.8 | 4.9 | 16.3
| Venlafaxine | ND | 89.1 | 0.5 | 1.6
| N-Desmethyl-VLF | ND | 50.4 | 0.4 | 1.4
| O-Desmethyl-VLF | ND | 92.4 | 1.1 | 3.8
β-Blockers | Atenolol | ND | 39.3 | 0.1 | 0.3
| Metoprolol | ND | 73.7 | 0.2 | 0.6
| MTPA | ND | 43.6 | 0.4 | 1.3
| Propranolol | ND | 36.9 | 0.7 | 2.4
| Sotalol | ND | 54.3 | 0.7 | 2.4
Alpha blockers | Tamsulosin | ND | 55.7 | 0.4 | 1.3
To treat asthma | Salbutamol | NR | NR | NR | NR
Total |  | 53
| ND | Not Detected (below the limit of quantification)
| <LOQ | Below Limit of Quantification
| NA | Not Analyzed
| SAT | SATurated peak. Concentration higher then upper linear range of calibration curve
| NR | Not recovered (recovery % too low)

## d) EDCs S2
Concentrations (ng/L) of endocrine disrupting compounds (EDCs) and related compounds in the second sampling campaign of HYDRO 5
Class | Compound | Freshwater collection tank | Analytical parameters
|  |  | Recovery (%) | LOD (ng/L) | LOQ (ng/L)
Plasticiser | BPA | 38.2 | 22.2 | 0.58 | 1.95
| BPB | ND | 61.2 | 1.44 | 4.79
Preservative | Methylparaben | ND | 60.61 | 5.71 | 19.04
| Propylparaben | ND | 82.4 | 6.93 | 23.11
Stimulant | Caffeine | ND | 99.3 | 3.9 | 13
Anticorrosive agent | Benzotriazole | 11.4 | 96.1 | 0.8 | 2.6
Total |  | 49.6
| ND | Not Detected (below the limit of quantification)
| <LOQ | Below Limit of Quantification
| NA | Not Analyzed
| SAT | SATurated peak. Concentration higher then upper linear range of calibration curve
| NR | Not recovered (recovery % too low)